## tbl_Apttus_cCRM_Eq_Price_Releva
Country | Equip Model | Equip Desc
IT | 15KVAUPS | 115 KVA PHASE UPS 480 VAC IN/OUT
IT | 25KVAF480380 | 25KVA 3 PH FLOURO ONLY 480/380
IT | 25KVAUPS480 | 25KVA 4200 3 PHASE UPS 480VAC IN/OUT
IT | 25VAUPS480 | 25KVA 3 PHASE UPS 480VAC IN/OUT
IT | 300005184032 | KIT, 1KVA ISO XFMR WGND BUS BAR, INT
IT | 442000000522 | EATON UPS 9355-15-N-5-32X9AH-MBS
IT | 453560069681 | PASY, UPS 2.2KVA, APC
IT | 453560110271 | PASY,UPS,6.0KVA 60HZ, APC
IT | 453560110301 | PASY,UPS,650VA,50/60HZ, APC
IT | 453560225251 | PASY,UPS 2.2KVA NORTH AMERICA
IT | 453560234971 | PASY, UPS 700VA(MIN) 120VAC 50/60
IT | 453560268521 | PASY,UPS,200-240VAC
IT | 453564251731 | ASSY-PWR UPS APC Rack US 120V 50/60Hz SM
IT | 453566995631 | 80KVA UNINTERRUPTIBLE PWR SUP
IT | 453567131781 | Chloride 80 kVA UPS 208/480
IT | 453567136561 | UPS(S2K350-5)
IT | 453567136631 | UPS(CFR-MED3000)
IT | 453567368091 | UPS,NA,220V 50/60HZ,3KVA
IT | 453567393741 | 150kVA-3 phase Philips UPS G8000
IT | 453567416731 | 1440VA Line Conditioning UPS
IT | 453567419221 | 25kVA UPS Battery Cabinet
IT | 453567420001 | 25kVA MR Mid-Tier - Eclipse
IT | 453567420071 | 225KVA 3 PHASE 480VAC IN/OUT G8000
IT | 453567421171 | 80kVA 3-phase UPS 480In/208Out
IT | 453567421191 | 50kVA 3-phase UPS 480In/380Out
IT | 453567421301 | 380VAC 3 phase fluoro only UPS
IT | 453567421311 | 480 VAC 50KVA Fluoro only UPS
IT | 453567424831 | 150KVA 3 PHASE UPS 480VAC IN/OUT G8000
IT | 453567433781 | UPS Powerware 5115/1400VA
IT | 453567439091 | 80kVA UPS Enclosure - US Army
IT | 453567442771 | UPS Powerware 5125
IT | 453567444511 | 150kVA UPS with Flywheel
IT | 453567444521 | 225kVA UPS with Flywheel
IT | 453567444531 | 300kVA UPS with Flywheel
IT | 453567455091 | 3.0kVA UPS, 120VAC, UL/IEC 60601-1 rate
IT | 453567461831 | 375kVA three phase Philips UPS unit
IT | 453567466681 | 300kVA UPS Knockdown Enclosure
IT | 453567475551 | UPS,INT.,220V 5060Hz, 2.2 KVA
IT | 453567912401 | UPS,N.AMERICA,120V 60 HZ
IT | 453567913781 | UPS, 6 KVA, 120/208 VAC
IT | 453580312412 | ONEAC-SERIS M11 UPS (ONM600XA-SI)
IT | 453580437952 | POWERWARE UPS 300V (05147152-6501)
IT | 453580438632 | POWERWARE UPS UNIT (05146566-5591)
IT | 453580438642 | POWERWARE UPS 5125 (05146635-5591)
IT | 453580468902 | POWERCOM USA 120V UPS SMK-1500A
IT | 453580471142 | APC UPS 2200VA SUA2200
IT | 453580473392 | APC SMART UPS 450 SC450RMI1U/2115878
IT | 453580486039 | POWERWARE 5125 1000VA UPS 05146630-5591
IT | 453580490278 | GE POWERCOM UPS 1000AP LNR 42399
IT | 453580504109 | toshiba 25KVA Fluoroscopy 060211
IT | 453580511894 | APC UPS POWER SUPPLY SUA1500IX38
IT | 453598552181 | 25KVA 3 PH FLOURO ONLY 480/380
IT | 453598552191 | 25KVA 3 PH FLOURO ONLY 480/480
IT | 455300016031 | PASY UPS 700 VA Mini 120 VAC 50/60
IT | 455300039021 | UPS 1000VA, Eaton PW9130i1000R-XL2U
IT | 455300048261 | UPS 230V, 1400W/ 2KVA, SRC2000XLI-CC
IT | 459800306382 | UPS,NA,230V 50/60HZ,3KVA
IT | 459800306432 | Emerson 3KVA UPS Kit
IT | 459800538831 | UPS Assembly with UPSBE700Y-IN
IT | 459800601331 | UPS, 1.5KVA BR1500GIN AssemblyFRU Kit
IT | 459800849611 | UPS-GXT4-1000RT230
IT | 459801117141 | UPS 1Phase Data Integrity
IT | 459801403621 | PASY,BRIGHTVIEW UPS 200-240V, 30A
IT | 459801852951 | UPS 1000VA, Eaton 9SX 1000i Rack2U
IT | 500KVAUPS | 500KVA 3PH UPS 489VAC IN/OUT
IT | 50KV2SMULTI | 50KVA 3ph UPS Fluoro Opt. 208 or 480/380
IT | 50KVAUPS480 | 50 KVA 3 PHASE UPS 480VAC IN/OUT
IT | 530208 | MEDRAD MARK V INJ
IT | 530225 | NONSPECIFIC MR CHILLER ACC
IT | 530426 | GE SG SERIES 100 UPS ACC
IT | 530521 | 2 - 9 kVA UPS ACC
IT | 530617 | 10 -25 kVA UPS ACC
IT | 530651 | 26 - 150 kVA UPS
IT | 530662 | 151 - 300 kVA UPS ACC
IT | 530676 | 301 - 500 kVA UPS ACC
IT | 531159 | GE PWR UPS 12KVA ACC
IT | 531365 | LIEBEL ANGIOMAT 9000 INJ
IT | 531367 | MEDRAD AVANTA INJ
IT | 531369 | LIEBEL CT 9000 INJ
IT | 531370 | E-Z-EM EMPOWER INJ
IT | 531372 | E-Z-EM EMPOWER CTA INJ
IT | 531373 | MEDRAD ENVISION CT INJ
IT | 531379 | MEDRAD MARK IV INJ
IT | 531380 | MEDRAD MARK V PLUS INJ
IT | 531384 | MEDRAD MARK V PROVIS INJ
IT | 531387 | LIEBEL OPTISTAR LE INJ
IT | 531388 | LIEBEL OPTIVANTAGE INJ
IT | 531389 | LIEBEL OPTIVANTAGE DH INJ
IT | 531397 | CT - Stellant injector
IT | 531398 | IMEDRAD STELLANT D / DX DUAL INJ
IT | 531399 | MEDRAD STELLANT DX INJ
IT | 531401 | MEDRAD VISTRON CT INJ
IT | 532003 | GE ACHILLES INSIGHT XR
IT | 532297 | MEDRAD ENVISION 700 INJ
IT | 555021 | MEDRAD MARK V CT INJ
IT | 555024 | APC SMART UPS 1000 ACC
IT | 555028 | APC BACK-UPS 1200 ACC
IT | 555188 | POWERWARE 9390 ACC/Eaton UPS
IT | 555276 | COVIDIEN OPTIVANTAGE DH INJ
IT | 555337 | CHLORIDE EDP SERIES UPS ACC
IT | 555348 | TOSHIBA 4200FA UPS ACC
IT | 555390 | APC SMART 5000/I UPS ACC
IT | 555397 | APC SYHF6KT RACKMOUNT UPS ACC
IT | 555469 | ALPHA TECHNOL CFR 2500 UPS ACC
IT | 555503 | POWERCOM ULT-2000LCD UPS ACC
IT | 555505 | APC SMART UPS RT 5000 ACC
IT | 555529 | 15000 OPN CHILLER, SW, 460 VAC
IT | 555596 | POWERWARE 9155-10 UPS ACC
IT | 555617 | MEDRAD MARK 7 ARTERION INJ
IT | 555659 | MITSUBISHI 9800AD UPS ACC
IT | 555674 | AIRSYS MEDICOOL 10.0 P6 R407C CHILL ACC
IT | 555675 | GAMATRONIC POWER+ SA 10KVA UPS ACC
IT | 556043 | MEDRAD MRXPERION INJ
IT | 556050 | MEDRAD MARK 7 ARTERION INJ
IT | 556187 | KKT CHILLERS COMPR ECO-133L ACC
IT | 556188 | KKT CHILLERS KSC-215-L-U/SS ACC
IT | 556218 | Bayer Stellant FLEX D Injector - OCS M
IT | 556261 | GE SG SERIES 20 UPS ACC
IT | 556276 | cBoxX70HA Chiller only(460VAC)
IT | 556298 | CHLORIDE C3150125 UPS
IT | 556322 | Acist Illumena Neo Injector
IT | 556352 | POWERWARE 9390 UPS ACC
IT | 556433 | Guerbet OptiOne Injector ACC
IT | 556435 | BAYER ARTERION-UPG (PED) INJ
IT | 556587 | Schneider OSHPD CLLF UPS
IT | 556606 | APC UPS 2200VA SUA2200
IT | 560179 | GE 5000 100KVA UPS ACC
IT | 580013 | BRACCO EMPOWERMR CONTRAST INJECTOR
IT | 704004 | Practix 360
IT | 704005 | Mobile X-Ray Practix Convenio
IT | 704006 | Mobile X-Ray Practix 160
IT | 704007 | Mobile X-Ray Practix 300
IT | 704008 | Practix 33 plus
IT | 704009 | Practix Mobile X-Ray 100 Plus
IT | 704010 | Mobile X-Ray Practix 400
IT | 704016 | Cosmos BS
IT | 704018 | Radiographic Systems Cosmos BS
IT | 704020 | Bucky Diagnost TS
IT | 70403 | CompactDiagnost 1/2
IT | 704030 | BuckyDiagnost TH
IT | 704031 | BuckyDiagnost Ceiling System
IT | 704032 | Bucky Diagnost Floor System
IT | 704035 | Bucky DIAGNOST TH second room
IT | 704040 | Bucky Diagnost VR
IT | 704041 | Bucky Diagnost VR
IT | 704050 | Essenta RAD
IT | 704060 | BuckyDiagnost Ceiling System
IT | 704062 | BuckyDiagnost Floor System
IT | 70408 | Bukcy Diagnost
IT | 70411 | Bucky Diagnost TH
IT | 70412 | BuckyDiagnost TC
IT | 70414 | Bucky Diagnost TS
IT | 70415 | BuckyDiagnost TS Tomo
IT | 704216 | DuraDiagnost F30 AR
IT | 704301 | MobileDiagnost Opta Analog
IT | 704310 | PrimaryDiagnost AR - Analog X-Ray
IT | 70505 | Practix 33
IT | 70507 | Practix 100
IT | 70508 | Practix 400
IT | 70509 | Practix 300
IT | 706030 | EasyDiagnost Classic
IT | 706031 | Easy Diagnost Digital
IT | 706032 | Easy Diagnost Eleva
IT | 706035 | EasyDiagnost Eleva
IT | 706037 | EasyDiagnost Eleva DRF
IT | 706050 | EasyDiagnost Eleva DRF, Release 5
IT | 706100 | ProxiDiagnost N90
IT | 706110 | ProxiDiagnost N90
IT | 706200 | ProxiDiagnost N90 rel 1.0 PCF
IT | 706201 | ProxiDiagnost N90 rel.1.0 GCF
IT | 70642 | EasyDiagnost
IT | 70643 | Easy Diagnost - DSI
IT | 707015 | DuoDiagnost
IT | 709010 | Essenta RC
IT | 709020 | Juno DRF
IT | 709030 | CombiDiagnost R90
IT | 709031 | CombiDiagnost R90
IT | 712001 | MobileDiagnost wDR
IT | 712002 | MobileDiagnost wDR Release 2
IT | 712004 | MobileDiagnost wDR Release 2
IT | 712005 | MobileDiagnost wDR Release 2
IT | 712006 | MobileDiagnost wDR Release 2
IT | 712007 | MobileDiagnost wDR Release 2
IT | 712010 | Radiography 7000
IT | 712020 | DigitalDiagnost Single Detector
IT | 712022 | DigitalDiagnost Dual Detector
IT | 712025 | DigitalDiagnost Release 3
IT | 712026 | DigitalDiagnost Release 3.1
IT | 712027 | DigitalDiagnost 4 High Performance
IT | 712028 | DigitalDiagnost 4 Flex / Value
IT | 712029 | DigitalDiagnost 4 Chest / Emergency
IT | 712031 | DigitalDiagnost 4.1 High Performance
IT | 712032 | DigitalDiagnost 4.1 Flex / Value
IT | 712033 | DigitalDiagnost 4.1 Chest / Emergency
IT | 712034 | DigitalDiagnost C90 High Performance
IT | 712035 | DigitalDiagnost C90 Flex/Value/Chest/ER
IT | 712037 | DR 7300
IT | 712050 | DigitalDiagnost
IT | 712052 | DigitalDiagnost
IT | 712054 | DigitalDiagnost Classic VM Compact
IT | 712055 | DigitalDiagnost VM
IT | 712057 | Digital Diagnost VM Compact
IT | 712060 | DigitalDiagnost VR
IT | 712062 | DigitalDiagnost VR
IT | 712070 | Essenta DR
IT | 712072 | Essenta DR Compact
IT | 712090 | ProGrade Release 1
IT | 712093 | Philips Radiology Smart Assistant
IT | 712201 | DigitalDiagnost C50
IT | 712202 | DuraDiagnost F30 1.1
IT | 712203 | DuraDiagnost 4.1
IT | 712204 | DigitalDiagnost C50 1.1
IT | 712210 | DuraDiagnost
IT | 712211 | DuraDiagnost
IT | 712212 | DuraDiagnost Compact
IT | 712213 | DuraDiagnost Compact Release 2
IT | 712214 | DuraDiagnost Rel. 4
IT | 712216 | DuraDiagnost F30 DR
IT | 712220 | DigitalDiagnost
IT | 712222 | DigitalDiagnost Pro
IT | 712223 | DigitalDiagnost 4
IT | 712224 | DigitalDiagnost 4.1
IT | 712225 | DigitalDiagnost 4.1
IT | 712226 | DigitalDiagnost 4 High Performance
IT | 712227 | DigitalDiagnost 4 Flex / Value
IT | 712228 | DigitalDiagnost 4 Chest / Emergency
IT | 712234 | DigitalDiagnost C90 High Performance
IT | 712235 | DigitalDiagnost C90 Flex/Value/Chest/ER
IT | 712301 | MobileDiagnost Opta Digital
IT | 712302 | MobileDiagnost M50
IT | 712303 | MobileDiagnost Opta Digital - Veterinary
IT | 712304 | MobileDiagnost M50
IT | 712310 | PrimaryDiagnost DR - Digital X-Ray
IT | 71403 | MammoDiagnost UC
IT | 714030 | MammoDiagnost
IT | 714034 | MammoDiagnost AR
IT | 714040 | Mammo Diagnost DR
IT | 714045 | MicroDose
IT | 714047 | MicroDose SI
IT | 714048 | 714248,MicroDose SI L50 U
IT | 714070 | Intellispace Breast Solution 2.2
IT | 714071 | Intellispace Breast Release 3.x
IT | 714247 | MicroDose SI
IT | 714248 | MicroDose SI Universal
IT | 718074 | BV Endura, rel. 2
IT | 718075 | BV Endura R2.3
IT | 718076 | Zenition 30
IT | 718094 | BV Pulsera, Mobile X-Ray unit
IT | 718095 | BV Pulsera, rel. 2.3
IT | 718096 | Zenition 50
IT | 718130 | VERADIUS Mobile C-arm with FD
IT | 718131 | Veradius
IT | 718132 | Veradius Unity
IT | 718133 | Zenition 70
IT | 718134 | Zenition 90
IT | 718201 | Stand-alone Viewforum Surgical W.S.
IT | 718400 | C-ArmImageIntensifier BVVectra
IT | 718401 | Zenition 10
IT | 72001 | TraumaDiagnost
IT | 720011 | Casualty system for Radiography
IT | 720013 | Casualty Systems for Radiography
IT | 720020 | BuckyDiagnost for Trauma
IT | 72200 | G8000 UPS 225kva
IT | 722010 | Allura Xper FD10
IT | 722011 | Allura Xper FD10/10
IT | 722012 | Allura Xper FD20
IT | 722013 | Allura Xper FD20 biplane
IT | 722022 | Allura Xper FD10 OR Table
IT | 722023 | Allura Xper FD20 OR Table
IT | 722024 | Allura Xper FD10/10 OR Table
IT | 722025 | Allura Xper FD20 Biplane OR Table
IT | 722026 | Allura Xper FD10
IT | 722027 | Allura Xper FD10/10
IT | 722028 | Allura Xper FD20
IT | 722029 | Allura Xper FD20/10
IT | 722033 | Allura Xper FD10 OR Table
IT | 722034 | Allura Xper FD10/10 OR Table
IT | 722035 | Allura Xper FD20 OR Table
IT | 722036 | Allura Xper FD20/10 OR Table
IT | 722038 | Allura Xper FD20/20
IT | 722039 | Allura Xper FD20/20 OR Table
IT | 722058 | Allura Xper FD20/15
IT | 722059 | Allura Xper FD20/15 OR Table
IT | 722063 | Azurion 3 M12
IT | 722064 | Azurion 3 M15
IT | 722067 | Azurion 7 B12
IT | 722068 | Azurion 7 B20
IT | 722078 | Azurion 7 M12
IT | 722079 | Azurion 7 M20
IT | 722221 | Azurion 3 M12
IT | 722222 | Azurion 3 M15
IT | 722223 | Azurion 7 M12
IT | 722224 | Azurion 7 M20
IT | 722225 | Azurion 7 B12
IT | 722226 | Azurion 7 B20
IT | 722227 | Azurion 5 M12
IT | 722228 | Azurion 5 M20
IT | 722229 | Azurion 3 M12
IT | 722230 | Azurion 3 M15
IT | 722231 | Azurion 5 M12
IT | 722232 | Azurion 5 M20
IT | 722233 | Azurion 7 M12
IT | 722234 | Azurion 7 M20
IT | 722235 | Azurion 7 B12
IT | 722236 | Azurion 7 B20
IT | 722280 | Azurion 3 M15
IT | 722281 | Azurion 5 M20
IT | 722282 | Azurion 7 M20
IT | 722360 | Philips DoseAware
IT | 722367 | DoseAware
IT | 722400 | Cardio Vascular-Allura Centron
IT | 722463 | Philips Hemo system
IT | 722467 | Philips Hemo system with IntelliVue X3
IT | 722468 | Field Extension Philips Hemo system with
IT | 722469 | Philips Hemo System R2
IT | 722480 | LumiGuide Equipment
IT | 724020 | Uro DIAGNOST MRF
IT | 72504 | LithoDiagnost ME
IT | 728112 | Access Dual
IT | 728114 | Access CT6
IT | 728116 | Access CT
IT | 728117 | Access CT IHP Upgrades
IT | 728120 | Mx8000 IDT 16 system
IT | 728121 | MX 6000 Dual CT System
IT | 728123 | MX 4000 Dual CT System
IT | 728126 | MX 4000 CT System
IT | 728130 | CT Vision Mx8000 Dual EXP system
IT | 728131 | MX 16 Slice
IT | 728132 | MX 16-slice SKD
IT | 728134 | Philips CT 3500
IT | 728138 | Philips CT 3500 Essentials
IT | 728139 | Philips CT 3500 Plus
IT | 728142 | Philips CT 3500 Pro
IT | 728143 | Incisive CT
IT | 728144 | Incisive CT
IT | 728146 | Incisive CT for Brazil SKD
IT | 728148 | Incisive CT Power
IT | 728149 | Incisive CT Plus
IT | 728151 | Incisive CT Essentials
IT | 728200 | CT Vision Mx8000(D)
IT | 728201 | CT Vision Mx8000(Q)
IT | 728209 | CT Vision ACQSIM CT
IT | 728231 | Brilliance CT 64 Channel
IT | 728233 | Brilliance CT 64 Channel - 2 Yr Warranty
IT | 728235 | Brilliance CT 40 Channel
IT | 728238 | CT 5400
IT | 728239 | CT 5400 RT
IT | 728240 | Brilliance CT 16 Power
IT | 728242 | Big Bore RT
IT | 728243 | Brilliance CT Big Bore Oncology
IT | 728244 | Brilliance CT Big Bore
IT | 728245 | Brilliance CT 16 Slice
IT | 728246 | Brilliance CT 16 Slice
IT | 728247 | Brilliance CT 16 Slice 5.0 MHU
IT | 728250 | Brilliance CT 10 Slice
IT | 728251 | Brilliance CT 10 Slice
IT | 728255 | Brilliance CT 6 Slice
IT | 728256 | Brilliance CT 6 Slice
IT | 728260 | Extended Brilliance Workspace
IT | 728262 | CT 5200 RT
IT | 728269 | Brilliance Workspace Portal
IT | 728271 | Brilliance Workspace Portal Stand Alone
IT | 728285 | CT 5300
IT | 728306 | Brilliance iCT
IT | 728307 | CT 6000
IT | 728308 | Brilliance iCT TVI
IT | 728311 | Brilliance iCT SP
IT | 728317 | Ingenuity Flex (16)
IT | 728319 | Ingenuity Flex (32)
IT | 728321 | Ingenuity Core
IT | 728323 | Ingenuity Elite
IT | 728326 | Ingenuity Elite with IMR
IT | 728332 | IQon Spectral CT
IT | 728333 | Spectral CT
IT | 728334 | Spectral CT7500 on Rails
IT | 728340 | Spectral CT 7500 CN
IT | 728343 | Spectral CT 7500 RT
IT | 728344 | Spectral CT 7500 Plus
IT | 728345 | Spectral CT Verida
IT | 728357 | Spectral CT Verida RT
IT | 728454 | Brilliance Big Bore Onco w/iPatient
IT | 728455 | Brilliance Big Bore Base w/iPatient
IT | 728492 | Philips CT 3300 Upgrades
IT | 728494 | Philips CT 3300
IT | 732028 | PCR Compano
IT | 732040 | PCR Compano Eleva
IT | 732042 | PCR Corado Eleva
IT | 732044 | PCR CosimaX Eleva
IT | 732048 | PCR Eleva S
IT | 732050 | PCR Eleva S Plus
IT | 732052 | PCR Eleva S Hi-res
IT | 732066 | PCR Eleva Compact
IT | 74800 | 300 KVA 3 PHASE UPS 480VAC IN/OUT G8000
IT | 779003 | Neuron 3 IO Vitals Plus
IT | 779005 | Capsule Software
IT | 779009 | Neuron 3 IO Chart Xpress
IT | 779010 | Neuron 3 IO Vitals Stream Mob
IT | 779011 | Neuron 3 4S2U Vitals Stream
IT | 779012 | N2 Refurbished Vitals Stream
IT | 779013 | Neuron 3 7S Vitals Stream
IT | 779014 | Axon - 1 Port concentrator
IT | 779015 | Axon - 4 Port concentrator
IT | 779016 | Axon - 8 Port concentrator
IT | 779017 | Philips Axon - Single Port concentrator
IT | 779018 | Philips Axon - 4 Port concentrator
IT | 779019 | VP3 NeExCa
IT | 779020 | Philips Axon - 8 Port concentrator
IT | 779022 | N2 Refurbished
IT | 779023 | VP3 NeEx
IT | 779024 | VP3 MaEx
IT | 779025 | VP3 NeExCa
IT | 779026 | VP3 MaExCa
IT | 779027 | Neuron 3 4S2E Vitals Stream
IT | 779030 | Neuron 2
IT | 779044 | MDIP Perpetual Licenses
IT | 779045 | MDI SW Other Perpetual License
IT | 779046 | Adv Int Perpetual License
IT | 779047 | GE Specific Perpetual License
IT | 779048 | Surveillance Perpetual Licenses
IT | 78100 | 50KVA 3ph UPS Fluoro Opt. 208 or 480/380
IT | 781068 | Ingenia LS
IT | 781069 | Prodiva CS
IT | 781070 | Prodiva CX
IT | 781072 | Multiva 1.5T 8 R5
IT | 781073 | Multiva 1.5T 16 R5
IT | 781074 | Multiva 1.5T 8 R5
IT | 781075 | Omniva 1.5T R5
IT | 781076 | Multiva 1.5T
IT | 781078 | Multiva 1.5T 16 R5
IT | 781101 | Intera 0.5T Standard
IT | 781102 | Intera 1.0T Omni/Stellar
IT | 781103 | Intera 1.0T Power/Pulsar
IT | 781104 | Intera 1.5T Omni/Stellar
IT | 781105 | Intera 1.5T Power/Pulsar
IT | 781106 | Intera 1.5T Master/Nova
IT | 781107 | Intera CV
IT | 781108 | Intera 1.5T Explorer/Nova Dual
IT | 781109 | Panorama 0.23T
IT | 781145 | Enterprise 1.5T
IT | 781153 | Achieva XR
IT | 781170 | Intera 1.5T R11
IT | 781171 | Intera Achieva 1.5T Pulsar
IT | 781172 | Intera 1.5T Achieva Nova
IT | 781173 | Intera 1.5T Achieva Nova-Dual
IT | 781175 | Intera 1.5T Achieva IT Nova
IT | 781177 | Achieva 3.0T
IT | 781178 | Achieva 1.5T Initial system
IT | 781195 | Intera 1.5T
IT | 781196 | Achieva 1.5T
IT | 781219 | Panorama 0.23T
IT | 781220 | Infinion 1.5T
IT | 781240 | Achieva 7.0T
IT | 781250 | Panorama HFO
IT | 781253 | Achieva XR
IT | 781260 | SmartPath to dStream for 1.5T
IT | 781261 | Ingenia 1.5T CX
IT | 781262 | Ingenia 1.5T CX
IT | 781270 | SmartPath to dStream for XR and 3.0T
IT | 781271 | Ingenia 3.0T CX
IT | 781277 | Achieva 3.0T
IT | 781278 | Achieva 3.0T
IT | 781283 | Achieva 1.5T Conversion
IT | 781295 | Initial Intera 1.5T
IT | 781296 | Achieva 1.5T
IT | 781301 | Panorama 0.6T system
IT | 781315 | Ingenia 1.5T
IT | 781341 | Ingenia 1.5T
IT | 781342 | Ingenia 3.0T
IT | 781343 | Achieva 1.5T
IT | 781344 | Achieva 3.0T
IT | 781345 | Achieva 3.0T
IT | 781346 | Achieva 1.5T Conversion
IT | 781347 | Ingenia 1.5T S
IT | 781350 | Initial Panorama HFO
IT | 781356 | Ingenia Ambition X
IT | 781357 | Ingenia Elition S
IT | 781358 | Ingenia Elition X
IT | 781359 | Ingenia Ambition S
IT | 781360 | Sonalleve MR-HIFU 1.5T
IT | 781361 | Sonalleve MR-HIFU 3.0T
IT | 781377 | Ingenia 3.0T
IT | 781396 | Ingenia 1.5T
IT | 781400 | Extended MR Workspace
IT | 781438 | MR-OR 3.0T
IT | 781465 | DynaCAD Workstations
IT | 781466 | Esys
IT | 781467 | DynaSuite Neuro
IT | 781474 | Marlin 1.5T
IT | 781477 | Initial Achieva 3.0T for PET
IT | 781479 | Achieva 3.0T TX for PET
IT | 781481 | Invivo Imaging Products
IT | 782101 | Ingenia 1.5T
IT | 782103 | Ingenia 3.0T
IT | 782105 | Ingenia 3.0T CX
IT | 782106 | Ingenia Elition S
IT | 782107 | Ingenia Elition X
IT | 782108 | Ingenia Ambition S
IT | 782109 | Ingenia Ambition X
IT | 782110 | MR 5300
IT | 782112 | SmartPath to dStream for 1.5T
IT | 782113 | SmartPath to dStream for XR and 3.0T
IT | 782115 | Ingenia 1.5T
IT | 782116 | Evolution upgrade 1.5T
IT | 782117 | Evolution upgrade 3.0T
IT | 782118 | SmartPath to Ingenia Elition X
IT | 782119 | Ingenia Elition X
IT | 782120 | MR 7700
IT | 782129 | SmartPath to dStream for XR and 3.0T
IT | 782130 | Upgrade to MR 7700
IT | 782131 | Evolution upgrade 3.0T
IT | 782132 | SmartPath to Ingenia Elition X
IT | 782133 | Ingenia Ambition S
IT | 782134 | Ingenia Ambition X
IT | 782135 | MR 5300
IT | 782136 | Ingenia Elition X
IT | 782137 | Ingenia Elition S
IT | 782138 | Ingenia Ambition X
IT | 782139 | Ingenia Ambition S
IT | 782140 | Ingenia 1.5T
IT | 782143 | Evolution upgrade 3.0T
IT | 782144 | SmartPath to Ingenia Elition X
IT | 782145 | SmartPath to dStream for 3.0T
IT | 782146 | SmartPath to dStream for 1.5T
IT | 782148 | Evolution upgrade 1.5T
IT | 782150 | Ingenia Elition S
IT | 782151 | Ingenia Elition X
IT | 782152 | MR 5300
IT | 782153 | MR 7700
IT | 782155 | MR 7700
IT | 782156 | MR 5300
IT | 782157 | Ingenia Elition S
IT | 782158 | Ingenia Elition X
IT | 782159 | Ingenia Ambition S
IT | 782160 | Ingenia Ambition X
IT | 782162 | Evolution upgrade 3.0T
IT | 782163 | SmartPath to Ingenia Elition X
IT | 782164 | SmartPath to dStream for XR and 3.0T
IT | 782165 | SmartPath to dStream for 1.5T
IT | 782166 | Evolution upgrade 1.5T
IT | 782167 | Upgrade to MR 7700
IT | 782178 | SmartPath to MR 7700
IT | 782180 | Ingenia Elition S
IT | 782181 | Ingenia Elition X
IT | 782185 | Blueseal SE
IT | 782186 | Blueseal XE
IT | 782192 | BlueSeal XE
IT | 782193 | BlueSeal SE
IT | 782194 | Ingenia Ambition S
IT | 782195 | Ingenia Ambition X
IT | 782196 | MR 5300
IT | 782197 | Ingenia Elition S
IT | 782198 | Ingenia Elition X
IT | 782199 | MR 7700
IT | 782201 | Evolution upgrade 1.5T
IT | 782202 | Evolution upgrade 3.0T
IT | 782204 | SmartPath to Ingenia Elition X
IT | 782206 | Upgrade to MR 7700
IT | 782207 | SmartPath to MR 7700
IT | 784012 | UroNav release 2
IT | 784026 | UroNav R3 System
IT | 795001 | InnoSight System
IT | 795005 | Lumify System
IT | 795007 | Lumify Rugged System Bundle
IT | 795045 | CX50 Uptrade
IT | 795050 | iU22 Ultrasound System
IT | 795052 | iE33 Ultrasound System
IT | 795060 | iU Elite Ultrasound System
IT | 795062 | iE33 2D Select Configuration
IT | 795064 | CX50 Ultrasound System
IT | 795066 | HD15 Ultrasound System
IT | 795070 | HD7 Ultrasound System
IT | 795074 | CX50 Integrated Ultrasound System
IT | 795075 | CX50 POC Ultrasound System
IT | 795076 | CX50 Ultrasound System
IT | 795078 | HD7 L Ultrasound System
IT | 795080 | ClearVue 350 Ultrasound System
IT | 795087 | CX50 Ultrasound System
IT | 795090 | Sparq Ultrasound System
IT | 795092 | HD5 Ultrasound System
IT | 795094 | ClearVue 550 Ultrasound System
IT | 795098 | iE Elite Ultrasound System
IT | 795101 | Xperius System
IT | 795104 | 3300 Ultrasound System
IT | 795109 | HD15 Diamond Select System
IT | 795112 | iU22 Preowned System
IT | 795113 | iE33 Preowned System
IT | 795114 | CX50 Diamond Select System
IT | 795116 | Sparq Diamond Select System
IT | 795117 | EPIQ 7 Diamond Select System
IT | 795118 | Affiniti 50 Diamond Select System
IT | 795119 | Affiniti 70 Diamond Select System
IT | 795120 | EPIQ 5 Diamond Select System
IT | 795121 | Affiniti 30 Diamond Select System
IT | 795122 | EPIQ CVx Diamond Select Ultrasound
IT | 795125 | EPIQ Elite Diamond Select Ultrasound
IT | 795141 | Ultrasound System 5500CV
IT | 795143 | Ultrasound System 5500P
IT | 795144 | Ultrasound System 5500W
IT | 795145 | Ultrasound System 5500G
IT | 795146 | Ultrasound System 5300W
IT | 795147 | Ultrasound System 5300P
IT | 795148 | Ultrasound System 5300G
IT | 795150 | iE Elite 2D Select Ultrasound System
IT | 795158 | Ultrasound System 5100 POC
IT | 795161 | Lumify Ultrasound System iOS
IT | 795180 | Affiniti 30 Ultrasound System
IT | 795181 | Affiniti 50 Ultrasound China Local
IT | 795185 | Affiniti 70W Ultrasound China
IT | 795186 | Affiniti 70C Ultrasound China
IT | 795187 | Affiniti 70 Ultrasound China
IT | 795190 | Affiniti CVx Ultrasound System
IT | 795192 | Affiniti CVx Ultrasound China
IT | 795200 | EPIQ 7G Ultrasound System
IT | 795201 | EPIQ 7C Ultrasound System
IT | 795202 | EPIQ 7W Ultrasound System
IT | 795204 | EPIQ 5G Ultrasound System
IT | 795205 | EPIQ 5C Ultrasound System
IT | 795206 | EPIQ 5W Ultrasound System
IT | 795208 | Affiniti 50 Ultrasound System
IT | 795210 | Affiniti 70 Ultrasound System
IT | 795216 | Lumify
IT | 795218 | Affiniti 30 Ultrasound System
IT | 795220 | ClearVue 650 Ultrasound System
IT | 795222 | ClearVue 580 Ultrasound System
IT | 795226 | ClearVue 850 Ultrasound System
IT | 795231 | EPIQ CVx Ultrasound system
IT | 795232 | EPIQ CVxi Ultrasound System
IT | 795234 | EPIQ Elite Diagnostic Ultrasound System
IT | 795237 | EPIQ CVx Ultrasound System China
IT | 795238 | EPIQ CVxi Ultrasound China
IT | 795247 | EPIQ 5 Ultrasound China Local
IT | 795248 | EPIQ 5 Ultrasound China Local
IT | 795249 | EPIQ 5 Ultrasound China Local
IT | 795250 | EPIQ 5 Ultrasound China Local
IT | 795251 | EPIQ 5 Plus Ultrasound System L4L
IT | 795252 | EPIQ 5 Plus Ultrasound System L4L
IT | 795256 | EPIQ CVx Ultrasound China Local
IT | 795257 | EPIQ Elite Ultrasound China Local
IT | 795258 | EPIQ Elite Diagnostic Ultrasound China
IT | 795259 | EPIQ Elite EXP Diagnostic Ultrasound
IT | 795260 | EPIQ Elite Plus Diagnostic Ultrasound
IT | 795261 | EPIQ CVx EXP Ultrasound System China
IT | 795262 | EPIQ CVx Plus Ultrasound System China
IT | 795263 | EPIQ Elite W Ultrasound System China
IT | 795265 | 5500 Ultrasound System
IT | 795274 | Ultrasound System 5100 POC L4L
IT | 795275 | Ultrasound System 5100 POC Pro L4L
IT | 795404 | Ultrasound System 5100 POC Pro
IT | 795407 | Affiniti CVx Ultrasound Circular Edition
IT | 797005 | Combomap
IT | 797401 | Core Mobile Imaging System
IT | 797402 | Core Integrated Imaging System
IT | 797403 | IntraSight
IT | 797404 | CVX-300 Excimer Laser System
IT | 797405 | Integrated systems field extensions
IT | 797406 | SyncVision
IT | 797407 | SyncVision Field extensions
IT | 797408 | SmartMap
IT | 797409 | S5 Imaging System
IT | 797410 | s5i Imaging System
IT | 797411 | Core M2 Imaging System
IT | 797412 | Core Mobile Imaging System 120V
IT | 797413 | Core Mobile Imaging System 100V
IT | 797414 | Core Mobile Imaging System 240V
IT | 797415 | IntraSight Mobile
IT | 830050 | TOMTEC
IT | 830059 | TOMTEC Extensions
IT | 830101 | Ultrasound Workspace Single-Seat
IT | 830102 | Ultrasound Workspace Multi-Seat
IT | 830104 | Ultrasound Workspace Extensions
IT | 846001 | Philips Laser System
IT | 870227 | Brilliance CT Big Bore Circular Edition
IT | 870240 | TumorLOC Server
IT | 870257 | Multimodality Simulation Server
IT | 870258 | Multimodality Simulation Workspace SW
IT | 881011 | Upgrades IntelliSpace Portal
IT | 881014 | Brilliance CT 64 Circular Edition
IT | 881026 | AVW Co-Sell MR (881120)
IT | 881048 | IBE Software
IT | 881050 | IntelliSpace Portal concerto
IT | 881070 | AVW Co-Sell CT (881120)
IT | 881090 | NM Suite
IT | 881093 | CT ASPECT Scoring
IT | 881100 | AVW Enterprise
IT | 881105 | AVW Server (881120)
IT | 881107 | AVW Workstation (881120)
IT | 881108 | Workstation HW Brazil
IT | 881109 | AVW enterprise HW
IT | 881121 | Upgrade AVW Server (881120)
IT | 881122 | Upgrade AVW Workstation (881120)
IT | 88202 | Prism 1000 XP/1500 XP/2000 XP/3000 XP
IT | 882020 | Forte
IT | 882030 | Vertex V60
IT | 882050 | SKYLIGHT
IT | 882060 | ARGUS EPIC
IT | 882130 | AXIS
IT | 882140 | IRIX
IT | 882150 | MERIDIAN
IT | 882160 | GEMINI Dual
IT | 882170 | CardioMD
IT | 882280 | Meridian II
IT | 882290 | Forte Jetstream
IT | 882300 | Gemini 16 Slice
IT | 882310 | Workstation NUK - JetStream / EBW NM/ Workstation (1 Stück)
IT | 882320 | Forte Jetstream-AZ
IT | 882350 | Precedence
IT | 882351 | Precedence 6 slice
IT | 882370 | EBW NM-CT Processing Workstation
IT | 882390 | Gemini GXL 6 Slice
IT | 882400 | Gemini GXL 10 Slice Configuration
IT | 882410 | Gemini GXL 16 Slice
IT | 882412 | GEMINI LXL
IT | 882420 | Skylight AZ
IT | 882431 | CardioMD IV
IT | 882438 | TruFlight Select PET/CT
IT | 882442 | Ingenuity TF PET/CT (RoHS)
IT | 882446 | Vereos PET/CT
IT | 882450 | CardioMD III
IT | 882456 | Ingenuity TF PET/CT
IT | 882458 | EBW NM Tiered
IT | 882470 | Gemini TF 16 w/ TOF Performance
IT | 882471 | Gemini TF 64 w/ TOF Performance
IT | 882473 | Gemini TF Ready
IT | 882476 | GEMINI TF Big Bore
IT | 882478 | BrightView X
IT | 882480 | BrightView
IT | 882482 | BrightView XCT
IT | 882488 | EBW NM Special
IT | 882489 | EBW NM
IT | 88297 | VERTEX / SOLUS / CARDIO
IT | 888001 | Kitten Scanner
IT | 888002 | Kitten Scanner
IT | 888110 | Ambient Lighting
IT | 888120 | Ambient experience for CT/iXR/DXR
IT | 888121 | Ambient Experience for CT/iXR/DXR
IT | 888210 | Ambient Lighting for MR
IT | 888220 | Ambient Experience for MR
IT | 888221 | Ambient Experience for MR
IT | 888310 | AE for Uptake
IT | 889021 | GreenLine Allura Xper FD10
IT | 889022 | GreenLine Allura Xper FD20
IT | 889023 | GreenLine Allura Xper FD10/10
IT | 889024 | GreenLine Allura Xper FD20 Biplane
IT | 889025 | Diamond Select Allura Xper FD10 R8.1
IT | 889026 | Diamond Select Allura Xper FD20 R8.1
IT | 889027 | Diamond Select Allura Xper FD10 BP R8.1
IT | 889028 | Diamond Select Allura Xper FD20 BP R8.1
IT | 889031 | Allura Xper FD10 R8.2 - DS Advance
IT | 889032 | Diamond Select Allura Xper FD20 R8.2
IT | 889042 | Diamond Select Allura Xper FD20 R8.2
IT | 889044 | DSA Azurion Biplane 20/15
IT | 889114 | Diamond Select BV Pulsera, rel. 2
IT | 889119 | Diamond Select Veradius
IT | 889120 | Diamond Select Veradius Neo
IT | 889123 | Veradius Demos
IT | 889140 | Zenition 50 - CE
IT | 889150 | Zenition 70 - CE
IT | 889200 | Diamond Select Intera1.5T 6ch
IT | 889204 | Diamond Select Achieva 3.0T
IT | 889205 | Diamond Select Achieva 1.5T
IT | 889206 | Diamond Select Intera 3.0T
IT | 889210 | Diamond Select Intera 1.5T 8ch
IT | 889212 | Diamond Select Panorama HFO
IT | 889213 | Achieva 1.5T Diamond Select Advance
IT | 889221 | Achieva dStream 1.5T - DS Advance
IT | 889222 | Achieva dStream 3.0T - DS Advance
IT | 889223 | Ingenia 1.5T - DS Advance
IT | 889224 | Ingenia 3.0T - D.S. Advance
IT | 889225 | Ingenia 1,5T Circular Edition
IT | 889226 | Ingenia 3,0T Circular Edition
IT | 889228 | Achieva dStream 3.0T Circular Edition
IT | 889232 | Ingenia Elition S/X Circular Edition
IT | 889233 | Ingenia Ambition S/X Circular Edition
IT | 889406 | Diamond Select Brilliance CT 16
IT | 889407 | Diamond Select Brilliance CT 64
IT | 889410 | Brilliance Workspace Portal
IT | 889411 | Diamond Select Brilliance CT 40
IT | 889414 | Diamond Select MX 16-slice CT
IT | 889416 | Diamond Select Brilliance Big Bore Onco
IT | 889418 | Diamond Select Brilliance iCT
IT | 889419 | Diamond Select Ingenuity Core
IT | 889467 | Diamond Select Gemini 16 GXL
IT | 889469 | Diamond Select Cardio MDIII
IT | 889470 | Diamond Select BrightView
IT | 889474 | Diamond Select Gemini TF 64 w/TOF
IT | 889475 | Diamond Select Gemini TF 16 w/TOF
IT | 889476 | Diamond Select Special Config SPECT
IT | 889477 | Diamond Select GEMINI TF Big Bore
IT | 889478 | Diamond Select BrightView XCT
IT | 889480 | Diamond Select Special Config PET
IT | 889482 | Diamond Select EBW NM Tiered
IT | 889484 | Special Delivery PET / CT
IT | 980389900099 | Galaxy 5000 80kva
IT | 981600150109 | Schreiber Chiller 1055AC
IT | 989000000072 | UPS Model : VGD-2000
IT | 989600077631 | UPSA 1.4 KVA 120V
IT | 989600220409 | APC SMART-UPS 5000VA
IT | 989604236141 | UPS Sinus Double Conv- online 2KVA
IT | 989604236151 | UPS Sinus Double Conv- online 3KVA
IT | 989604236161 | UPS Sinus Double Conv- online 1KVA
IT | 989604245681 | MGE Galaxy 5500 80kva
IT | 989605200561 | Teal 100kVA Isotran LM
IT | 989605200781 | Chloride 80kVA 480V 60Hz UPS
IT | 989605200891 | Chloride 225kVA UPS (60hz)
IT | 989605201091 | SyncRight Injector - OCS Medium
IT | 989605201092 | SyncRight Injector - OCS Medium
IT | 989605201113 | SyncRight Injector - Pedestal
IT | 989605201161 | 480VAC/60Hz/125kVA UPS
IT | 989605201162 | UPS 480VAC/60Hz/125kVA/19kWH Staco
IT | 989605201201 | UPS 480VAC/60Hz/200kVA/38kWH Staco
IT | 989605201202 | UPS 480VAC/60Hz/200kVA/38kWH Staco
IT | 989605201231 | Certegra Injector - OCS Short
IT | 989605201241 | Certegra Injector - OCS Medium
IT | 989605201251 | Certegra Injector - OCS Long
IT | 989605201261 | Certegra Injector - Pedestal
IT | 989605600371 | UPS, 80kVA 60Hz
IT | 989605602111 | UPS, 125 kVA/480 V/60 Hz
IT | 989605602112 | UPS, 125 kVA/480 V/60 Hz
IT | 989606724511 | Ultrasound UPS 1440VA 120v
IT | 989800400010 | UPS 9120/2000I PKE
IT | 989800400083 | UPS 5115 FOR EASYVISION
IT | 989800400085 | UPS 1400 VA
IT | 989800400093 | UPS 3115-650 PKE
IT | 989800400094 | UPS 5115-1000 PKE
IT | 989800400095 | UPS 700 VA
IT | 989800400096 | UPS PW3110
IT | 989800400097 | UPS PW5105-1000
IT | 989800400104 | UPS PW9110-2000PKE
IT | 989800400474 | UPS 5105 1000VA
IT | 989800400475 | UPS PW 9110 2000VA
IT | 989800800570 | APC Smart UPS 2200VA
IT | 989801000012 | RILEVATORE OSSIGENO
IT | 989801000500 | RF Cage fpr MR
IT | 989801000501 | RF Cage fpr MR
IT | 989801000502 | Oxygen detector
IT | 989801000606 | UPS 9KVA 20MIN AUTONO
IT | 989801000608 | Medrad Iniettore Spectris SMR 200
IT | 989801000614 | Oxygen detector
IT | 989801000615 | CAGE FOR MR 00497
IT | 989801000619 | CAGE FOR MR 00514
IT | 989801000625 | OXYGEN MONITOR
IT | 989801000654 | CAGE FOR MR 0209
IT | 989801000671 | CAGE FOR MR 0337
IT | 989801000684 | OXYGEN MONITOR
IT | 989801000928 | GABBIA PROTEZIONE RF PER RM
IT | 989801000936 | GABBIA RF HAMACO PER MR
IT | 989801000973 | Medrad Iniettore Solaris
IT | 989801000987 | GABBIA PROTEZIONE RF PER MR
IT | 989801001071 | GABBIA RF IN ALLUMINIO
IT | 989801001154 | Ulrich Iniettore Mississippi
IT | 989801001301 | GABBIA RF RAME
IT | 989801001311 | RILEVATORE UMIDITA'/TEMPERATURA
IT | 989801001328 | GABBIA RF (IMEDCO)
IT | 989801001355 | GABBIA RF ALLUMINIO
IT | 989801001394 | GABBIA RF ITEL
IT | 989801001558 | GABBIA RF IMEDCO
IT | 989801001618 | Medrad Iniettore Spectris Solaris EP SSM
IT | 989801001673 | GABBIA RF SCHERMATURA E PREP.AE
IT | 989801001758 | Acist Iniettore RM - Empower MR
IT | 989801001774 | Medrad Iniettore Spectris Solaris EP SSM
IT | 989801001823 | Medrad iniettore Solaris
IT | 989801001865 | MODIFICA GABBIA RF
IT | 989801002083 | Medrad Iniettore Solaris
IT | 989801002092 | Liebel Flarsheim Iniettore Optistar Elit
IT | 989801002096 | MODIFICA GABBIA RF
IT | 989801002100 | ADEGUAMENTO GABBIA RF
IT | 989801002135 | Medrad Iniettore Solaris
IT | 989801002200 | ADEGUAMENTO GABBIA IMEDCO X AMBIENT LIG
IT | 989801002202 | ADEGUAMENTO GABBIA RF
IT | 989801002207 | GABBIA RF SCHUTZE TECHNIQUE
IT | 989801002329 | GABBIA MORVIDUCCI
IT | 989801002365 | INIETTORE SPECTRIS MR SMR 200 10
IT | 989801002406 | Centralina O2 Sensitron mod. STPL4
IT | 989801003005 | GABBIA RF
IT | 989801003055 | RIVELAT.OSSIGENO (SICOR/SURECO)
IT | 989801003062 | GABBIA PROTEZIONE RF PER RM
IT | 989801003076 | GABBIA (PMMS)
IT | 989801050866 | Luci led x Gabbia RF
IT | 989801050972 | Iniettore Solaris
IT | 989801051137 | GABBIA RF E ACCESSORI
IT | 989801051186 | MD/INIETTORE SOLARIS EP
IT | 989801051232 | GABBIA RF
IT | 989801051253 | Adeguamento centralina
IT | 989801051270 | ADEGUAMENTO GABBIA
IT | 989801051284 | ADEGUAMENTO GABBIA
IT | 989801051294 | GABBIA RF
IT | 989801051299 | Adeguamento centralina
IT | 989801200339 | UPS 1.5KVa Rack Mount
IT | 989801200340 | UPS 1.5KVa Stand Alone
IT | 989801200342 | HP R3000 XR UPS
IT | 989801200349 | Dell 3kVA 208V rack UPS
IT | 989801200352 | Symmetra RM 6 kVA UPS - Scalable to 6 kV
IT | 989801200617 | Dell 2U Rack Mtd UPS, 1.5KVa
IT | 989801200657 | APC Smart UPS, VAMC, Columbia, MO
IT | 989801200695 | UPS 1.0KW 2U Rack Mountable - OBSOLETE
IT | 989801200696 | UPS 1.0KW Stand Alone - OBSOLETE
IT | 989801200697 | UPS 1.0KW Stand Alone
IT | 989801200698 | UPS 1.0KW 2U Rack Mountable
IT | 989801210003 | MEDRAD STELLANT SX CT INJECTOR - SGL PED
IT | 989801210004 | MEDRAD STELLANT SX CT INJECTOR - SGL OH
IT | 989801210005 | MEDRAD STELLANT D CT INJECTOR - DUAL PED
IT | 989801210006 | MEDRAD STELLANT D CT INJECTOR - DUAL OH
IT | 989801210027 | Medrad D CT Inj-Dual Flow-PED
IT | 989801210031 | ACIST Empower Single CT Injector - Ped
IT | 989801210032 | ACIST Empower Single CT Injector-Ceiling
IT | 989801210033 | ACIST Empower SingleEDA Injector-Ceiling
IT | 989801210034 | ACIST Empower Single EDA Injector - PED
IT | 989801210035 | BRACCO Empower Dual Head Injector - Ped
IT | 989801210036 | BRACCO Empower Dual Head Inj -Ceiling
IT | 989801210037 | BRACCO Empower Dual Head EDA Inj Ped
IT | 989801210038 | BRACCO Empower Dual EDA Injector-Ceiling
IT | 989801210061 | MEDRAD Stellant SX CT Injector - Ped Sys
IT | 989801210062 | Medrad Stellant SX CT Injector- OH Sys
IT | 989801210063 | MEDRAD STELLANT D CT INJECTOR - PED SYS
IT | 989801210064 | MedRad Stellant D CT Injector-OH System
IT | 989801210065 | Medrad Stlnt D Dual Flow CT Inj Ped Sys
IT | 989801210079 | Staco MBPS 125kVA
IT | 989801210080 | Staco MBPS 200kVA
IT | 989801210087 | Bayer Stellant SX CT Injector - Ped Sys
IT | 989801210088 | Bayer Stellant SX CT Injector-Short OCS
IT | 989801210089 | Bayer Stellant SX CT Injector-Long OCS
IT | 989801210090 | Bayer Stellant D CT Injector - Ped Sys
IT | 989801210091 | Bayer Stellant DH/DF CT Inj w/CD-Ped Sys
IT | 989801210092 | Bayer Stellant DH/DF CT Inj w/CW-Sh OCS
IT | 989801210093 | Bayer Stell DH/DF CT Inj w/CD-Long OCS
IT | 989801210094 | Bayer Stell DH/DF CT Inj w/CW-Ped Mobile
IT | 989801210099 | Bayer Stell DH/DF CT Inj w/CD-Ped Sys-B
IT | 989801210101 | Bayer Stell DH/DF CT Inj w/CD-Long OCS-B
IT | 989801210102 | Bayer Stell DH/DF CT Inj w/CD-Sh OCS-B
IT | 989801210106 | Bayer Stell DH/DF CT Inj w/CD-Medium OCS
IT | 989801210107 | Bayer Stell DH/DF CT Inj w/CD-Med OCS-B
IT | 989801210114 | Guerbet OptiVantage DH, Stand w/CAN
IT | 989801210115 | Guerbet OptiVantage DH, SS w/CAN
IT | 989801210116 | Guerbet OptiVantage DH, RS w/RFID
IT | 989801210117 | Guerbet OptiVantage DH, SS w/RFID
IT | 989801210118 | Guerbet OptiVantage DH, RS w/CAN_SI
IT | 989801210119 | Guerbet OptiVantage DH, SS w/CAN_SI
IT | 989801210120 | Guerbet OptiVantage DH,RS w/RFID_SI
IT | 989801210121 | Guerbet OptiVantage DH,SS w/RFID_SI
IT | 989801210145 | UPS 480VAC/60Hz/125kVA/19kWH Staco
IT | 989801210146 | UPS 480VAC/60Hz/200kVA/38kWH Staco
IT | 989801210152 | Bayer Stellant FLEX D Injector - Ped
IT | 989801210153 | Bayer Stellant FLEX D Injector - OCS SH
IT | 989801210154 | Bayer Stellant FLEX D Injector - OCS M
IT | 989801210155 | Bayer Stellant FLEX D Injector - OCS L
IT | 989801210159 | Staco 125kva OSHPD UPS
IT | 989801210160 | UPS 200kVA Staco - OSHPD
IT | 989801220039 | 3.0KVA UPS Retrofit Kit
IT | 989801220060 | Medrad Provis Inj - Pedestal
IT | 989801220061 | Medrad Provis Inj - Rack Mnt
IT | 989801220064 | Medrad Xper Cable Rack Mnt
IT | 989801220071 | GSS PDU w/2k UPS
IT | 989801220158 | Mark 7 Arterion, Table Mount
IT | 989801220281 | 25 kVA Fluoro only UPS - UPC
IT | 989801220282 | 25 kVA Fluoro Only UPS - UTS
IT | 989801220355 | 25 kVA Fluoro only UPS - UPC DS
IT | 989801220356 | 25 kVA Fluoro only UPS - UTS DS
IT | 989801220363 | Medrad Flow
IT | 989801220366 | 25 kVA Fluoro Only UPS - UTS Seismic
IT | 989801220369 | Full Load 40 kW UPS
IT | 989801220370 | Low Load 15 kW UPS
IT | 989801220371 | Seismic Full Load 40kW UPS 80kva
IT | 989801220372 | Seismic Low Load 15 kW UPS
IT | 989801220380 | Full Load Remote UPS
IT | 989801220381 | Seismic Full Load Remote UPS
IT | 989801220383 | Illumena Pedestal
IT | 989801220384 | llumena Rack - Table Mount
IT | 989801220508 | Medrad Mark 7 Arterion Ceiling 580mm
IT | 989801220510 | Medrad Mark 7 Arterion Trolley 580mm
IT | 989801220511 | Medrad Free Standing Pedestal
IT | 989801220514 | Compact Low Load Fluoro UPS
IT | 989801220997 | Schneider GVS LLF AiO
IT | 989801225022 | Medrad Mark 7 Arterion Pedestal
IT | 989801229901 | Full System UPS ? 20
IT | 989801229902 | IGT - Low Load Fluoro (LLF) UPS
IT | 989801229922 | OSHPD Low Load Fluoro (LLF) UPS-5
IT | 989801239219 | UPS 1500 KVa
IT | 989801239390 | APC Smart-UPS 1500VA LCD 120V
IT | 989801239392 | Not Used_APC Smart-UPS 1500VA LCD 120V
IT | 989801240001 | 1300VA Line Conditioning UPS Canada
IT | 989801250004 | PDU 4000 v04 3.5 kva UPS
IT | 989801251002 | Socomec DXR Full system UPS
IT | 989801269923 | Mobile C Arm UPS - 1.8kVA
IT | 989801270004 | Schreiber Chiller 1055AC
IT | 989801270005 | Schreiber Chiller 1055RC
IT | 989801270006 | Schreiber Chiller 1055AC-208
IT | 989801270007 | Schreiber Chiller 1055RC-208
IT | 989801270008 | SCHREIBER CHILLER 1500AC 480 VAC
IT | 989801270018 | DimplexLong distance remote display
IT | 989801270023 | Schrieber 2203 Corrosion Resist. Chiller
IT | 989801270024 | Schrieber Chiller 1500AC 480 VAC
IT | 989801270027 | Schrieber 15MED Water Cooled Chiller 480
IT | 989801270031 | Schreiber 15MED Air Cooled Chiller
IT | 989801270033 | 1055AC CHILLER, 480VAC
IT | 989801270035 | 1055AC CHILLER, 208VAC
IT | 989801270041 | Spectris Solaris EP Injector
IT | 989801270047 | Schreiber 15MEDChiller208/360
IT | 989801270048 | Chiller Panorama 0.6T-0.23T
IT | 989801270049 | Chiller 1.0-1.5T-3.0T
IT | 989801270050 | Schreiber 1001 AC Chiller
IT | 989801270067 | Schreiber 3003 AC Redundant Chiller
IT | 989801270082 | DTS MDKOOL 15000 OPEN CHILLER, 480VAC
IT | 989801270083 | DTS MDKOOL 15000 OPEN CHILLER, 208VAC
IT | 989801270084 | DTS MDKOOL 15000 OPEN CHILLER, 480VAC, S
IT | 989801270085 | DTS MDKOOL 15000 OPEN CHILLER, 208VAC, S
IT | 989801270086 | DTS MDKOOL 15000 PRESS. CHILLER, 480VAC
IT | 989801270094 | EmpowerMR Injector System
IT | 989801270095 | OptiStar Elite Mobile Injector
IT | 989801270096 | OptiStar Elite Pedestal Injector
IT | 989801270105 | 15000 OPN CHILLER, 208-230 VAC
IT | 989801270106 | 15000 OPN CHILLER, 460 VAC
IT | 989801270107 | 15000 OPN CHILLER, HI AMBIENT
IT | 989801270108 | 15000 OPN CHILLER, SW, 208-230 VAC
IT | 989801270109 | DimplexWO2-7500 Coastal
IT | 98980127011 | 15000 PRESS CHILLER, 460 VAC
IT | 989801270110 | 15000 PRESS CHILLER, 208-230 VAC
IT | 989801270111 | 15000 PRESS CHILLER, 460 VAC
IT | 989801270112 | 15000 PRESS CHILLER, SW, 208-230 VAC
IT | 989801270113 | 15000 PRESS CHILLER, SW, 460 VAC
IT | 989801270114 | DimplexFilter flow meter kit
IT | 989801270115 | DimplexWO2-7500 Low Ambient
IT | 989801270116 | DimplexCIP – 10/40 gpm manual bypass
IT | 989801270119 | DimplexWO2-7500 Seismic
IT | 989801270120 | DimplexWO2-7500 Seismic Coastal
IT | 989801271107 | MR Mid Tier UPS 3.0T Achieva Ingenia
IT | 989801271108 | MR Mid Tier UPS 1.5T Achieva Ingenia
IT | 989801271109 | MR Mid-Tier UPS SSC 1.5T Achieva Ingenia
IT | 989801271110 | MR Mid-Tier UPS SSC 3.0T Achieva Ingenia
IT | 989801271111 | DTS 10-40 GPM Auto Chiller Interface
IT | 989801271112 | 10-40 Manual Chiller Interface Panel
IT | 989801271113 | DimplexChiller Startup - startup, PM
IT | 989801271115 | cBoxX60SA Chiller (460VAC)
IT | 989801271116 | KKTcBoxX 60 LOW AMBIENT
IT | 989801271117 | KKTSEISMIC OSHPD cBoxX60SA
IT | 989801271118 | cBoxX70HA Chiller (460VAC)
IT | 989801271119 | KKTChiller cBoxX70HA SEISMIC OSHPD
IT | 989801271120 | KKTGlycol - KKT Protect 37% - 5 gallons
IT | 989801271121 | KKTGlycol - KKT Protect 37% - 55 gallons
IT | 989801271122 | KKTGlycol - KKT Protect 50% - 5 gallons
IT | 989801271123 | KKTGlycol - KKT Protect 50% - 55 gallons
IT | 989801271124 | cBoxX60SA Chiller only (460VAC)
IT | 989801271125 | KKTChiller (460VAC) - High Ambient
IT | 989801271126 | KKTCHILLER INTERFACE PANEL
IT | 989801271127 | KKTCHILLER START UP PLUS
IT | 989801271129 | MEDRAD MRXperion MR Injection System
IT | 989801271130 | cBoxX100SA Chiller 460VAC
IT | 989801271134 | IGT Fluro UPS - CLLF 75 KVA Modulys
IT | 989801271135 | Socomec 100kva MR UPS (without Chiller)
IT | 989801271136 | Socomec OSHPD100kva MR UPS with Chiller
IT | 989801271137 | Socomec OSHPD100kva MR UPS w/out Chiller
IT | 989801271138 | Staco 125kva kva MR UPS (with Chiller)
IT | 989801271139 | Staco 125kva kva MR UPS (w/out Chiller)
IT | 989801271140 | Staco OSHPS 125kva MR UPS (with Chiller)
IT | 989801271141 | Staco OSHPD 125kva MR UPS w/out Chiller
IT | 989801271142 | MR UPS Mid Tier Umdu Socomec
IT | 989801271143 | MR UPS Mid Tier Gmdu Socomec
IT | 989801271147 | Elition Std Chiller Pkg- Dimplex
IT | 989801271148 | Elition OSHPD Chiller Pkg- Dimplex
IT | 989801278002 | 80KVA 3 Phs UPS 480VAC I/O
IT | 989801278004 | Chloride 80KVA 3 Phs Pwr Cnd 480VAC I/O
IT | 989801278005 | 80kVA 3 PHs UPS 208 / 480
IT | 989801278018 | 300VA Line Conditioning UPS MG
IT | 989801278019 | 600VA Line Conditioning UPS MG
IT | 989801278020 | 80KVA UPS 480VAC I/O and Enclos
IT | 989801278021 | 80KVA UPS 208VAC I/O and Enclos
IT | 989801278022 | 80KVA UPS 480VAC I/O and Enclos
IT | 989801278023 | 80KVA UPS 208VAC I/O and Enclos
IT | 989801278026 | 3.0kVA Tripplite UPS
IT | 989801278027 | 2000VA Line Conditioning UPS
IT | 989801278029 | MR Mid-Tier Solution - Intera
IT | 989801278031 | PDU-4000 w/3kVA UPS
IT | 989801278032 | Chloride 80KVA 3Phs InptFltr 480VAC I/O
IT | 989801278034 | 225KVA 3 Phs PC 480VAC I/O
IT | 989801278039 | 80KVA 3 Phs PC to UPS Upgrade
IT | 989801278044 | 1,440VA Line Conditioning UPS
IT | 989801278045 | 80kVA 3 PHs UPS 480 / 208
IT | 989801278047 | 50KVA 3 Phs UPS 480 In/380 Out
IT | 989801278048 | 2.4KVA Sngl Phs 220 VAC In L-N
IT | 989801278049 | 2.4KVA Sngl Phs 208, 240 VAC
IT | 989801278052 | 100KVA 3 Phs UPS 480VAC I/O
IT | 989801278053 | 150KVA 3 Phs UPS 480VAC I/O
IT | 989801278054 | 225KVA 3 Phs UPS 480VAC I/O
IT | 989801278055 | 300KVA 3 Phs UPS 480VAC I/O
IT | 989801278056 | Spr Prts Kit 80kVA ChlorideUPS
IT | 989801278057 | 1.5kVA UPS 120VAC UL/IEC60601
IT | 989801278058 | 3.0kVA UPS 220VAC UL/IEC60601
IT | 989801278059 | Wheeled cart for 1.5kVA UPS
IT | 989801278060 | 1.0kVA UPS 120VAC UL/IEC60601
IT | 989801278062 | 300KVA UPS 480VAC I/O and Enclos
IT | 989801278063 | 100KVA UPS 480VAC I/O and Enclos
IT | 989801278064 | 150KVA UPS 480VAC I/O and Enclos
IT | 989801278065 | 225KVA UPS 480VAC I/O and Enclos
IT | 989801278066 | 25KVA 3 Phs UPS 480VAC I/O
IT | 989801278067 | Fluoro Protection 480 / 480
IT | 989801278068 | 15KVA 3 Phs UPS 480VAC I/O
IT | 989801278069 | 15KVA 3 Phs UPS 208VAC I/O
IT | 989801278071 | 25KVA 3 Phs UPS 208VAC I/O
IT | 989801278072 | 25KVA 3 Phs UPS 480VAC I/O
IT | 989801278075 | 50kVA 3 Phs BAT 480VAC I/O
IT | 989801278076 | 50kVA 3 Phs PC 480VAC I/O
IT | 989801278077 | 50KVA 3 Phs UPS 208VAC I/O
IT | 989801278078 | 50KVA 3 Phs UPS 480VAC I/O
IT | 989801278079 | 100KVA 3 Phs UPS 480VAC I/O
IT | 989801278082 | 100KVA 3 Phs PC 480VAC I/O
IT | 989801278085 | 150KVA 3 Phs PC 480VAC I/O
IT | 989801278086 | 150KVA 3 Phs UPS 480VAC I/O
IT | 989801278087 | 225KVA 3 Phs UPS 480VAC I/O
IT | 989801278088 | 300KVA 3 Phs UPS 480VAC I/O
IT | 989801278089 | 1300VA Line Conditioning UPS
IT | 989801278090 | 900VA Line Conditioning UPS
IT | 989801278094 | 2.4 KVA True On-Line UPS
IT | 989801278096 | 3.6KVA Sngl Phs 208/240 In
IT | 989801278097 | 3.6KVA Sngl Phs 208/240 In/L6
IT | 989801278098 | 6KVA Sngl Phs 208/240 VAC In
IT | 989801278099 | 6KVA Sngl Phs 208/240VAC In/L6
IT | 989801278100 | 8KVA Sngl Phs 208/240 VAC In
IT | 989801278150 | 375kVA Philips UPS 480VAC In/Out
IT | 989801278151 | 500kVA Philips UPS 480VAC In/Out
IT | 989801278152 | 750kVA Philips UPS 480VA In/Out
IT | 989801278153 | 100kVA Philips UPS 400VAC US Army Ver.
IT | 989801278155 | 15kVA Philips 3-phase UPS PM visit
IT | 989801278156 | 25kVA Philips 3-phase UPS PM visit
IT | 989801278157 | 50kVA Philips 3-phase UPS PM visit
IT | 989801278158 | 100kVA Philips 3-phase UPS PM visit
IT | 989801278159 | 150kVA Philips 3-phase UPS PM visit
IT | 989801278160 | 225kVA Philips 3-phase UPS PM visit
IT | 989801278161 | 300kVA Philips 3-phase UPS PM visit
IT | 989801278163 | 1YW - 100KVA 3 Phs UPS 480VAC I/O - FW
IT | 989801278164 | 1YW - 150KVA 3 Phs UPS 480VAC I/O - FW
IT | 989801278165 | 1YW - 225KVA 3 Phs UPS 480VAC I/O - FW
IT | 989801278166 | 1YW - 300KVA 3 Phs UPS 480VAC I/O - FW
IT | 989801278167 | 1YW - 100KVA 3 Phs UPS 480VAC I/O
IT | 989801278168 | 1YW - G8000 100KVA 3 Phs PC 480VAC I/O
IT | 989801278170 | 1YW - 150KVA 3 Phs UPS 480VAC I/O
IT | 989801278171 | 225KVA 3 Phs UPS 480VAC I/O
IT | 989801278172 | 1YW - 300KVA 3 Phs UPS 480VAC I/O
IT | 989801278173 | 1YW - 375KVA 3 Phs UPS 480VAC I/O
IT | 989801278174 | 1YW - 500KVA 3 Phs UPS 480VAC I/O
IT | 989801278175 | 750KVA 3 Phs UPS 480VAC I/O
IT | 989801278187 | 80kVA UPS 208VAC US Air Force Version
IT | 989801278198 | Single Enclosure - 80kVA UPS USARMY V3.0
IT | 989801278200 | 225KVA UPS PM Visit - Chloride 3 Phase
IT | 989801278204 | 80/100KVA UPS PM Visit - Chloride 3 Phas
IT | 989801278210 | 100KVA 3 Phs UPS 480 I/O - SSC
IT | 989801278211 | 150KVA 3 Phs UPS 480 I/O - SSC
IT | 989801278212 | 225KVA 3 Phs UPS 480 I/O - SSC
IT | 989801278213 | 50KVA 3 Phs UPS 480 I/O - SSC
IT | 989801278214 | 25kva 4200 Fluoro Protection 480 I/O - SSC
IT | 989801278218 | 2.4kVA UPS Battery Replacement
IT | 989801278219 | 225KVA Chl 3 Phs UPS 60Hz
IT | 989801278222 | 15KVA 3 Phs UPS 480VAC I/O
IT | 989801278224 | 25KVA 3 Phs UPS 480VAC I/O
IT | 989801278225 | 6KVA UPS Batt. Repl. (Philips)
IT | 989801278228 | 25kva 4200 Fluoro Protection 480/480,12.5MRT
IT | 989801278229 | 80KVA 3Phs UPS 480VAC I/O,3YR
IT | 989801278230 | MR Mid-Tier UPS (Panorama/Intera)
IT | 989801278231 | 500kVA UPS 480 VAC I/O
IT | 989801278232 | 500kVA UPS 480 VAC I/O, SPL
IT | 989801278235 | 225kVA G8000 UPS 400 volts 3 Phase 50 Hz
IT | 989801278236 | 225kVA G8000 UPS 480 volts 3 Phase 60 Hz
IT | 989801278237 | 2.1kVA UPS 120VAC UL/IEC 60601
IT | 989801278238 | 100KVA UPS 480VAC I/O w SM Enc
IT | 989801278239 | MR Mid-Tier UPS, SSC (Panorama/Intera)
IT | 989801278249 | 25 kVA 3 Phs UPS 480 I/O - SSC
IT | 989801278264 | MR Mid-Tier UPS (1.5T Achieva/Ingenia)
IT | 989801278265 | MR Mid-Tier UPS (3.0T Achieva/Ingenia)
IT | 989801278266 | MR Mid-Tier UPS SSC (1.5T Achieva/Ingeni
IT | 989801278267 | MR Mid-Tier UPS SSC (3.0T Achieva/Ingeni
IT | 989801278272 | 25kVA 3Ph UPS 480v AC I/O UPC
IT | 989801278273 | 10KVA UPS
IT | 989801278274 | 30KVA UPS
IT | 989801278275 | 50KVA UPS
IT | 989801278276 | 80KVA UPS
IT | 989801278277 | 100KVA UPS
IT | 989801278278 | 150KVA UPS
IT | 989801278279 | 225KVA UPS
IT | 989801278280 | 300KVA UPS
IT | 989801278281 | 500KVA UPS
IT | 989801278282 | RF Mid-Tier UPS Solution
IT | 989801278295 | UPS Toshiba 1600XP
IT | 989801278298 | Philips 125KVA UPS
IT | 989801278300 | Philips 500KVA G8000 UPS
IT | 989801278302 | Philips 25 kVA UPS w UTS 8.2 ready
IT | 989801278304 | Philips 25kVA UPC Fluoro UPS, 8.2
IT | 989801278312 | G8000 125kVA 100kW Philips UPS Seismic
IT | 989801278314 | 2.4KVA UPS Preventative Maintenance
IT | 989801278315 | 6KVA UPS Battery Change
IT | 989801278316 | 25KVA UPS Battery Change
IT | 989801278317 | 25KVA UPS Preventative Maintenance
IT | 989801278318 | 50KVA UPS Battery Replacement
IT | 989801278319 | 50KVA UPS Preventative Maintenance
IT | 989801278320 | 80KVA UPS Battery Change
IT | 989801278321 | 80KVA Chlor UPS Preventative Maintenance
IT | 989801278322 | 100KVA UPS Battery Change
IT | 989801278323 | 100KVA UPS Preventative Maintenance
IT | 989801278324 | 150KVA UPS Battery Change
IT | 989801278325 | 150KVA UPS Preventative Maintenance
IT | 989801278326 | 225KVA UPS Preventative Maintenance
IT | 989801278327 | 225KVA UPS Battery Change
IT | 989801278328 | 300KVA UPS Battery Change
IT | 989801278329 | 300KVA UPS Preventative Maintenance
IT | 989801278330 | 2.4KVA UPS Battery Change
IT | 989801278331 | 6 KVA UPS Preventative Maintenance
IT | 989801278332 | KKTGlycol - KKT Protect 37% - 5 gallons
IT | 989801278333 | KKTGlycol - KKT Protect 37% - 55 gallons
IT | 989801278334 | KKTGlycol - KKT Protect 50% - 5 gallons
IT | 989801278335 | KKTGlycol - KKT Protect 50% - 55 gallons
IT | 989801278353 | KKTCHILLER INTERFACE PANEL 2
IT | 989801278354 | KKTChiller (460VAC) - Standard Ambient
IT | 989801278355 | KKTChiller Replacement Install Kit #1 – For Installs without CIP
IT | 989801278356 | KKTChiller Replacement Install Kit #2 – For Installs with CIP
IT | 989801278366 | DC-Group 2.4kva Toshiba UPS PM 200 mile
IT | 989801278367 | DC-Group 2.4kva Toshiba UPS PM 400 mile
IT | 989801278368 | DC-Group 6kva Toshiba UPS PM 200 mile
IT | 989801278369 | DC-Group 6kva Toshiba UPS PM 400 mile
IT | 989801278370 | DC-Group 25kva Toshiba UPS PM 200 mile
IT | 989801278371 | DC-Group 25kva Toshiba UPS PM 400 mile
IT | 989801278372 | DC-Group 50kva Toshiba UPS PM 200 mile
IT | 989801278373 | DC-Group 50kva Toshiba UPS PM 400 mile
IT | 989801278376 | DC-Group 80kva Toshiba UPS PM 200 mile
IT | 989801278377 | DC-Group 80kva Toshiba UPS PM 400 mile
IT | 989801278378 | DC-Group 100kva Toshiba UPS PM 200 mile
IT | 989801278379 | DC-Group 100kva Toshiba UPS PM 400 mile
IT | 989801278382 | DC-Group 150kva Toshiba UPS PM 200 mile
IT | 989801278383 | DC-Group 150kva Toshiba UPS PM 400 mile
IT | 989801278386 | DC-Group 225kva Toshiba UPS PM 200 mile
IT | 989801278387 | DC-Group 225kva Toshiba UPS PM 400 mile
IT | 989801278388 | DC-Group 300kva Toshiba UPS PM 200 mile
IT | 989801278389 | DC-Group 300kva Toshiba UPS PM 400 mile
IT | 989801278407 | CardioMD 2kva Staco UPS
IT | 989801278412 | Schneider Galaxy VS full load 80kva UPS
IT | 989801278413 | Schneider GalaxyVS OSHPD Full 80kva UPS
IT | 989801278414 | Schneider OSHPD CLLF UPS
IT | 989801278456 | IGT Compact Full UPS
IT | 989801278457 | 10kVA MR Mid Tier uMDU UPS Staco
IT | 989801278458 | UPS 65kVA OSHPD MR mid tier gMDU Staco
IT | 989801278459 | UPS 65kVA MR mid tier gMDU Staco
IT | 989801278464 | Electronic Environments 25kva UPS PM
IT | 989801278465 | Electronic Environments 50kva UPS PM
IT | 989801278466 | Electronic Environments 2.4kva UPS PM
IT | 989801278467 | Electronic Environments 6kva UPS PM
IT | 989801278468 | Electronic Environments 80kva UPS PM
IT | 989801278469 | Electronic Env. 25kva UPS Batteries
IT | 989801278470 | Electronic Env. 50kva UPS Batteries
IT | 989801278471 | Electronic Env. 2.4kva UPS Batteries
IT | 989801278472 | Electronic Env. 6kva UPS Batteries
IT | 989801278473 | Electronic Env. 80kva UPS Batteries
IT | 989801278474 | DimplexWO2-2-5000 Standard
IT | 989801278475 | DimplexWO2-2-5000 Low Ambient
IT | 989801278476 | DimplexWO2-2-5000 Seismic
IT | 989801278477 | DimplexWO2-2-5000 Coastal
IT | 989801900002 | CT-3000VA-230V (3000VA UPS)
IT | 989801902000 | CT 9000 Injector
IT | 989801902001 | Envision Ceiling Injector
IT | 989801902013 | Stellant Single Injector
IT | 989801902014 | Stellant Dual Injector
IT | 989801903013 | Medrad Solaris Injector
IT | 989803178101 | UPS, 350VA
IT | 989803202301 | Tower UPS Medical 120V 50/60hz
IT | 989803202302 | Tower UPS Medical 120V 50/60Hz
IT | 989804201718 | EMERSON CT-3000VA-230V UPS
IT | 989804300333 | Stellant D CT Injector System+SCT211
IT | 989804301805 | Eaton Powerware 9390 160k VA/ 144kW UPS
IT | 989804302053 | 2kVA UPS System
IT | 989804312375 | EATON 93E SERIES 80kVA 3-PHASE UPS
IT | 989804317631 | 20KVa UPS
IT | 989804318598 | 40 KVA UPS
IT | 989804752110 | POWERWARE 9355/30KVA UPS
IT | 989805100233 | Chloride 250 KVA (90-NET Series)
IT | 989805700090 | UPS 3000VA Rack/Tower LCD (i)
IT | 989805700093 | UPS Smart 750VA LCD (i)
IT | 989806100316 | MR chiller-UPS400V-GP4 120kVA-Europe
IT | 989806101012 | MEDRAD (R) Mark 7 Arterion Table Inj.
IT | 989806101014 | MD/MEDRAD Avanta injector
IT | 989806103178 | MST 80 + BB chiller
IT | 989806199927 | Socomec 380kva input LLF-5
IT | G8K100KVA | 100KVA 3 Phase UPS 480VAC In/Out, G8000
IT | G8K100KVAPC | 100KVA 3 Phase PC 480VAC IN/OUT, G8000 S
IT | G8K150KVAUPS | 150KVA 3 PHASE UPS 480VAC IN/OUT G8000
IT | G8K225KVAUPS | 225KVA 3 PHASE UPS 480VAC IN/OUT G8000
IT | G8K300KVAUPS | 300 KVA 3 PHASE UPS 480VAC IN/OUT G8000
IT | MARK V | INJECTORS/ CONTRAST MEDIA
IT | MARK V PLUS | INJECTORS/ CONTRAST MEDIA
IT | MARK V PROVIS | INJECTORS/ CONTRAST MEDIA
IT | MAT1891 | 6.0KV UPS-VERTX/FORTE-US
IT | MCU0701 | CONSOLE UPS
IT | MCU1751 | CONSOLE UPS
IT | ONL1500VAT | ISOLATED ON LINE UPS 1500VAT